Tender#: CUI/ATD/40/E&CE (2020-2021)
	S#
	Description
	Quantity

	1. 
	3D Printer (Print speed of 500mm/sec)
Print Volume of 170mm x 170mm x 170mm
	01 No

	2. 
	Flux Sensor (Tesla Sensor)
Static Magnetic Field Tesla Tester Flux Meter
	01 No

	3. 
	Thermal Infrared Image Camera 
Fluke VT04A Visual IR thermometer, Temperature range of -10degC to 250degC. 
	01 No

	4. 
	JMAG Commercial FEA Package (Perpetual License)
	01 No



Note:
