Tender: CUI/ATD/41/CHM (2020-2021)
List of Items

	S. No
	Name of Item
	Quantity required

	1
	n-Hexane (commercial grade)
	200
	Liters

	2
	Chloroform (commercial grade)
	200
	Liters

	3
	Ethyl acetate (commercial grade)
	200
	Liters

	4
	Acetone (commercial grade)
	50
	Liters

	5
	n-Butanol (commercial grade)
	30
	Liters

	6
	Silica Gel (230-400 mesh)
	5
	bottles

	7
	Silica Gel (70-230 mesh)
	5
	Bottles

	8
	C18-silica coated aluminum sheets (20x20 cm)
Alternate name: RP18 silica coated aluminum sheets (20x20 cm)
	1
	box

	9
	Hydrometer for Methanol (range 40-70% aqueous methanol)
	1
	unit

	10
	Semi shallow China dish, glazed inside and outside, capacity 10 mL 
	5
	dishes

	11
	Semi shallow China dish, glazed inside and outside, capacity 40 mL 
	2
	dishes

	12
	Semi shallow China dish, glazed inside and outside, capacity 75 mL
	2
	dishes

	13
	Semi shallow China dish, glazed inside and outside, capacity 180 mL
	2
	dishes

	14
	UV Hand Lamp with dual wavelength (254/366 nm switchable), type 6W; power supply 220-240 V
	1
	unit

	15
	Heat gun, Bosch or Equivalent
	1
	unit

	16
	22 Gauge Needle for HPLC applications
(specifications: Luer hub made of plastic; needle length = 51 mm, blunt tip i.e. 90° bevel.) (Part/REF #: 90134, Hamilton) or (Part #: 7215, Rheodyne) or Equivalent
	3
	needles

	17
	Measuring Cylinder (Borosilicate) Capacity 50 mL
	10
	cylinders

	18
	Measuring Cylinder (Borosilicate) Capacity 100 mL
	10
	cylinders

	19
	Measuring Cylinder (Borosilicate) Capacity 500 mL
	02
	cylinders

	20
	Measuring Cylinder (Borosilicate) Capacity 1000 mL
	02
	cylinders

	21
	Conical joint clips (type KeckTM Cat. No. 1103729, Lenz Germany, or equivalent for Ground Joints NS 29/32)
	5
	clips

	22
	Membrane filter for water filtration, Pore size 0.45 micrometer, diameter 47 mm, 100 filters per unit, (Micropore or equivalent)
	2
	packs

	23
	rubber suction squeeze bulb with sharp tip (capacity: 30 mL)
	5
	units

	24
	rubber suction squeeze bulb with sharp tip (capacity: 60 mL)
	5
	units

	25
	rubber suction squeeze bulb with sharp tip (capacity: 90 mL)
	5
	units
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