Tender # CUI/ATD/R & M of Generators/35 (2022-2023)

Bill of Quantity (BoQ)
	S. No
	Items Name
	Specification
	Qty



	01
	A-Block

Generator
	Made: Cummins, Model: 6BTA5.9-G3, Capacity: 135 KVA

Following Accessories required.

· Engine Oil / Mobil Oil

· Oil Filter

· Fuel Filter

· Air Filter

· Magnetic Relay 200 Amp

· Relay 160 Amp

· Phase Failure 

· Battery Charger

· AVR Card

· Radiator

· Auto Panel with wiring
 (Complete services and maintenance including all spare parts & accessories required for routine and special service of generator)

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of each accessories separately.

Payment will be made on actual quantities.
	01 No

	02
	A-Block (NMR)

Generator
	Made: Perkins, Model: IDPU 30, Capacity: 30 KVA

· Engine Oil / Mobil Oil

· Oil Filter

· Fuel Filter

· Air Filter

· Magnetic Relay 200 Amp

· Relay 160 Amp

· Phase Failure 

· Battery Charger

· AVR Card

· Radiator

· Auto Panel with wiring
 (Complete services and maintenance including all spare parts & accessories required for routine and special service of generator)

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of each accessories separately.

Payment will be made on actual quantities.


	01 No

	03
	SF-Hostel

Generator
	Made: Cummins, Model: 4BT3.9-G4, Capacity: 63 KVA

· Engine Oil / Mobil Oil

· Oil Filter

· Fuel Filter

· Air Filter

· Magnetic Relay 200 Amp

· Relay 160 Amp

· Phase Failure 

· Battery Charger

· AVR Card

· Radiator

· Auto Panel with wiring
 (Complete services and maintenance including all spare parts & accessories required for routine and special service of generator)

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of each accessories separately.

Payment will be made on actual quantities.
	01 No

	04
	Lab Area, 

Girls Hostel

Generator
	Made: Cummins, Model: 4BT3.9-G4, Capacity: 63 KVA

· Engine Oil / Mobil Oil

· Oil Filter

· Fuel Filter

· Air Filter

· Magnetic Relay 200 Amp

· Relay 160 Amp

· Phase Failure 

· Battery Charger

· AVR Card

· Radiator

· Auto Panel with wiring
 (Complete services and maintenance including all spare parts & accessories required for routine and special service of generator)

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of each accessories separately.

Payment will be made on actual quantities.
	01 No

	05
	Z-Block

Generator
	Made: Perkins, Model: 1106A-70TG1, Capacity: 135 KVA

· Engine Oil / Mobil Oil

· Oil Filter

· Fuel Filter

· Air Filter

· Magnetic Relay 200 Amp

· Relay 160 Amp

· Phase Failure 

· Battery Charger

· AVR Card

· Radiator

· Auto Panel with wiring
 (Complete services and maintenance including all spare parts & accessories required for routine and special service of generator)

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of each accessories separately.

Payment will be made on actual quantities.
	01 No

	06
	ISP & Server Room Generator
	Made: Perkins, Engine Type: 249071500, Part: 2873K632, Capacity: 35 KVA

· Engine Oil / Mobil Oil

· Oil Filter

· Fuel Filter

· Air Filter

· Magnetic Relay 200 Amp

· Relay 160 Amp

· Phase Failure 

· Battery Charger

· AVR Card

· Radiator

· Auto Panel with wiring
 (Complete services and maintenance including all spare parts & accessories required for routine and special service of generator)

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of each accessories separately.

Payment will be made on actual quantities.
	01 No

	07
	Dhamtor Campus

Generator
	Made: Cummins, Capacity: 35 KVA

· Engine Oil / Mobil Oil

· Oil Filter

· Fuel Filter

· Air Filter

· Magnetic Relay 200 Amp

· Relay 160 Amp

· Phase Failure 

· Battery Charger

· AVR Card

· Radiator

· Auto Panel with wiring
 (Complete services and maintenance including all spare parts & accessories required for routine and special service of generator)

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of each accessories separately.

Payment will be made on actual quantities.
	 01 No

	08
	Diesel
	Supply of Diesel on regular basics 
Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate per liter price.

Payment will be made on actual quantities.
	Per liter rate

	09
	Visit Charges
	Repairing & Maintenance Visit Charges.

Required to quote rate on time frame contract basis valid for period of One year till June 30, 2024 each mentioned accessories of each mentioned generator.

Please Quote the rate of per visit charges.

Payment will be made on actual quantities.
	Per Visit Rate


Tender Ref# Printed Store Stationery items/ 36 (2022-2023)

Bill of Quantity (BoQ)
	S#
	Items Specifications  
	Quantity

	Printed Stationery Items:

	1
	File Folders: Art Card 310 Gram, Shine Laminated Single Center Crease Four Color Printing (Packing 50 Each) Size 13.8”x18.75” with COMSATS Logo (As per Sample)
	4000 Nos 

	2
	Envelope A-4 Size White: 100 Gram High Finish Paper, Single Color Printing with COMSATS logo and Address (Packing of 50 Each) As per Sample 
	3000 Nos 

	3
	Envelope 9x4 White:  100 Gram High Finish Paper, Single Color Printing with COMSATS Logo and Address (Packing of 50 Each) As per Sample 
	2000 Nos 


Note: 

· Bidders are required to submit the samples of card and paper along with their bids. 
5
COMSATS UNIVERSITY ISLAMABABD, ABBOTTABD CAMPUS 

