Tender # Miscellaneous Items/ 22 (2023-2024)                    Tender for Procurement of Miscellaneous, Electric, Hardwar, Sanitary items etc.

Bill of Quantity (BOQ)
	Sr#
	Items Specifications
	Required Quantity
	A/U 

	Category A

	1. 
	Electric Wire 1/44 GM or Equivalent 
	01
	Roll

	2. 
	Service Wire 7/52 (Wapda Cable of Equivalent) 
	01
	Roll

	3. 
	Main DP 12”X24”
	01
	No 

	4. 
	Main Breaker 63 Amp
	02 
	No 

	5. 
	Single Breaker 16 Amp 
	12
	No 

	6. 
	Electric Wire 3/29 (Red + Black) GM or Equivalent 
	02
	Roll 

	7. 
	PVC Open Box 6”x3”
	02
	No 

	8. 
	Lear Switch 10 Hole Complete Sheet 
	02
	 No 

	9. 
	PVC Open Box 3”x3”
	16
	No 

	10. 
	Light Plug Clipsal Or Equivalent 
	16
	No 

	11. 
	Duct Patti 16x25 
	120
	Feet 

	12. 
	Steel Nail 1”
	01
	Box 

	13. 
	China Screw 1 ½” 
	01
	Box 

	14. 
	Exhaust Fan Copper Winding  Plastic Body 12”x12” (Royal Fan or Equivalent)
	02
	No 

	15. 
	LED Bulb Thread 50 Watt 
	04
	No 

	16. 
	Holder Thread KM or Equivalent 
	04 
	No 

	17. 
	Electric Wire 7/36 GM or Equivalent 
	03
	Roll 

	Category B: 

	18. 
	Block 16”x8”x6”
	350
	No 

	19. 
	Cement 
	15
	Bag

	20. 
	Sand 
	100
	Cft 

	21. 
	Crush Pain 
	50
	Feet 

	22. 
	Marble For Top Front Gola 4’x2’
	08
	Piece 

	23. 
	Marble Top with Sink Hole 5’x2’
	02
	Piece 

	Category C:

	24. 
	PPR Tee Thread 25mmx1/2”
	30
	No 

	25. 
	PPR Elbow 25 mm
	12
	No 

	26. 
	PPR Threading Socket 25 mm 
	18 
	No 

	27. 
	PPR Pipe 25 mm 
	100
	Feet 

	28. 
	Valve ½” 
	30
	No 

	29. 
	Valve Nipple ½” 
	30
	No 

	30. 
	Valve Nozzle ½”
	30 
	No 

	31. 
	Bibcock Double 
	          02
	No 

	32. 
	Sink Mixture with 3 Taps & 3 Nozzles 
	02
	No 

	33. 
	PPR Clips 
	36
	No 

	34. 
	Steel Nail 3” 
	01
	Box 

	35. 
	China Screw ¾” 
	01
	Box 

	36. 
	Threading Elbow PPR 25 mmx1/2” 
	03
	No 

	37. 
	Threading Elbow PPR 25mm x3/4” 
	03
	 No 

	38. 
	Threading Elbow PPR 25 mm x 1”
	03
	No 

	39. 
	Waste Couple for Sink 
	02
	No 

	40. 
	Waste Pipe for Sink 
	02
	No 

	41. 
	Nylon Connection Pipe 
	02
	No 

	42. 
	T-Cock ½”
	02
	No 

	43. 
	PVC Pipe 3” 
	50
	Feet 

	44. 
	PVC Tee 3” 
	02
	No 

	45. 
	PVC Elbow 3” 
	04
	No

	46. 
	PVC Solution 250 ml 
	01
	Bottle  

	47. 
	Thread 
	01
	Packet 

	48. 
	Teflon Tape 
	12
	No 

	49. 
	Gas Rubber Pipe 
	100
	Feet 

	50. 
	Jubilee Clips 
	36
	No 

	51. 
	PPR Cutter 
	01
	No 

	52. 
	Ceramic Bowl 24”x18”
	02
	No 
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